## Sheet1
| KK | KKS | Material | NC | Note | QualityCat | Quantity | Type | Weight | единица измерения | климатическое исполнение и категория размещения | код еос нси (gid) | место установки | срок поставки | столбец1 | столбец2 | условия хранения | цена | № п/п по спецификации аэп (номер по сзс) | № позиции | № позиции по контракту с икаэл | № ту, чертежа, технических требований и др. | countClones | Bellow | Actuator type | RPI | DC | Fluid | Connection | GroupNC | Dostup | Pletter | SeismoCat | under containment
1 | 6 | 4 | 10 | 8 | 21 | 9 | 12 | 5 | 13 | 11 | 15 |  | 17 | 18 | 14 | 20 | 16 | 19 | 3 | 1 | 2 | 7 | 1 |  | , Manual, Hydraulic, BS, self-operated, Pneumatic | yes |  | Acid, Acid, Acid, Aggressive water, Aggressive water, Aggressive water, Air, Air, Alkali, Alkali, Alkali, Alkali solution, Ammonia, Ammonia solution, Blowdown water, Boric acid solution, Boric acid solution, Boric acid solution, Boric acid solution, Boric acid solution, Boric acid solution, Boric acid solution, Boric concentrate, Boric concentrate, bottoms liquid, caustic soda, Chemical, Chilled water, Chilled water, coagulant, coagulant solution, Compressed air, Condensate, Condensate, Condensate, Condensate, Condensate, Condensate, Decontamination solution, Decontamination solution, Desalted water, Desalted water, Distillate, Distillate, Ethanolamine solution, Feed water, Feed water, Gas, Gas mixture, Gas mixture, Hydrazine hydrate, Hydrazine solution, Hydrogen, LCQ-2 filter regeneration solutions, Mains water, Mains water, Nitric acid, Nitric acid solution, Nitrogen, Nitrogen, oil, Overheated water, oxygen, phosphate solution, primary coolant, primary coolant, primary coolant, primary coolant, Pulp, radioactive gas, radioactive gas, radioactive gas, radioactive gas, radioactive liquid, reagents, reagents, Sea water, slime, slurry water, Sodium hydroxide, Steam, Steam, Steam, Steam-air mixture, Steam-water mixture, Steam-water mixture, Steam-water mixture, sulphuric acid, sulphuric acid, washing solution, washing solution, washing solution, washing solution, Zinc Compound Solution, Water, Water, Water, Water, Water, Water, Water, Water, Water, Water, Water, Water, Water, Water, Water, Water, Water, Water, Water, Water, Water, Water, Water, Water, drainage | [5 empty] | yes
2 | dn 200.0 mm pp 18.0 mpa tp 350 oc medium - reactor coolant, boron solution 39.5-44.5 g/dm3 ду 200.0 мм рр 18.0 мпа тр 350 ос среда - теплоноситель i контура, раствор борной кислоты 39,5-44,5 г/дм3 | 31jdj10aa002 | ssSS | 2вiiа/ i |  | qa1 | 1 | Shut-off valve | 1000 | шт | тв4/iii | 824150 | uja - реакторное здание/внутренний контайнмент / uja - reactor building/internal containment / | 2020-10-06 00:00:00 | 1000 | 0 | 6(ож2)/iii |  | 1.37.10.3.1 | 1 | 8.3.37 | 412м-пр-144/ r02.kk34.uja.jdj.tm.id.p001 | 1 |  | , Manual, Hydraulic, BS, self-operated, Pneumatic | yes |  | Acid, Acid, Acid, Aggressive water, Aggressive water, Aggressive water, Air, Air, Alkali, Alkali, Alkali, Alkali solution, Ammonia, Ammonia solution, Blowdown water, Boric acid solution, Boric acid solution, Boric acid solution, Boric acid solution, Boric acid solution, Boric acid solution, Boric acid solution, Boric concentrate, Boric concentrate, bottoms liquid, caustic soda, Chemical, Chilled water, Chilled water, coagulant, coagulant solution, Compressed air, Condensate, Condensate, Condensate, Condensate, Condensate, Condensate, Decontamination solution, Decontamination solution, Desalted water, Desalted water, Distillate, Distillate, Ethanolamine solution, Feed water, Feed water, Gas, Gas mixture, Gas mixture, Hydrazine hydrate, Hydrazine solution, Hydrogen, LCQ-2 filter regeneration solutions, Mains water, Mains water, Nitric acid, Nitric acid solution, Nitrogen, Nitrogen, oil, Overheated water, oxygen, phosphate solution, primary coolant, primary coolant, primary coolant, primary coolant, Pulp, radioactive gas, radioactive gas, radioactive gas, radioactive gas, radioactive liquid, reagents, reagents, Sea water, slime, slurry water, Sodium hydroxide, Steam, Steam, Steam, Steam-air mixture, Steam-water mixture, Steam-water mixture, Steam-water mixture, sulphuric acid, sulphuric acid, washing solution, washing solution, washing solution, washing solution, Zinc Compound Solution, Water, Water, Water, Water, Water, Water, Water, Water, Water, Water, Water, Water, Water, Water, Water, Water, Water, Water, Water, Water, Water, Water, Water, Water, drainage | [5 empty] | yes
3 | dn 200.0 mm pp 18.0 mpa tp 350 oc medium - reactor coolant, boron solution 39.5-44.5 g/dm3 ду 200.0 мм рр 18.0 мпа тр 350 ос среда - теплоноситель i контура, раствор борной кислоты 39,5-44,5 г/дм3 | 32jdj20aa002 | ssSS | 2вiiа/ i |  | qa1 | 1 | Shut-off valve | 1000 | шт | тв4/iii | 824150 | uja - реакторное здание/внутренний контайнмент / uja - reactor building/internal containment / | 2020-10-06 00:00:00 | 1000 | 0 | 6(ож2)/iii |  | 1.37.10.3.1 | 2 | 8.3.37 | 412м-пр-144/ r02.kk34.uja.jdj.tm.id.p001 | 1 |  | , Manual, Hydraulic, BS, self-operated, Pneumatic | yes |  | Acid, Acid, Acid, Aggressive water, Aggressive water, Aggressive water, Air, Air, Alkali, Alkali, Alkali, Alkali solution, Ammonia, Ammonia solution, Blowdown water, Boric acid solution, Boric acid solution, Boric acid solution, Boric acid solution, Boric acid solution, Boric acid solution, Boric acid solution, Boric concentrate, Boric concentrate, bottoms liquid, caustic soda, Chemical, Chilled water, Chilled water, coagulant, coagulant solution, Compressed air, Condensate, Condensate, Condensate, Condensate, Condensate, Condensate, Decontamination solution, Decontamination solution, Desalted water, Desalted water, Distillate, Distillate, Ethanolamine solution, Feed water, Feed water, Gas, Gas mixture, Gas mixture, Hydrazine hydrate, Hydrazine solution, Hydrogen, LCQ-2 filter regeneration solutions, Mains water, Mains water, Nitric acid, Nitric acid solution, Nitrogen, Nitrogen, oil, Overheated water, oxygen, phosphate solution, primary coolant, primary coolant, primary coolant, primary coolant, Pulp, radioactive gas, radioactive gas, radioactive gas, radioactive gas, radioactive liquid, reagents, reagents, Sea water, slime, slurry water, Sodium hydroxide, Steam, Steam, Steam, Steam-air mixture, Steam-water mixture, Steam-water mixture, Steam-water mixture, sulphuric acid, sulphuric acid, washing solution, washing solution, washing solution, washing solution, Zinc Compound Solution, Water, Water, Water, Water, Water, Water, Water, Water, Water, Water, Water, Water, Water, Water, Water, Water, Water, Water, Water, Water, Water, Water, Water, Water, drainage | [5 empty] | yes
4 | dn 200.0 mm pp 18.0 mpa tp 350 oc medium - reactor coolant, boron solution 39.5-44.5 g/dm3 ду 200.0 мм рр 18.0 мпа тр 350 ос среда - теплоноситель i контура, раствор борной кислоты 39,5-44,5 г/дм3 | 33jdj30aa002 | ssSS | 2вiiа/ i |  | qa1 | 1 | Shut-off valve | 1000 | шт | тв4/iii | 824150 | uja - реакторное здание/внутренний контайнмент / uja - reactor building/internal containment / | 2020-10-06 00:00:00 | 1000 | 0 | 6(ож2)/iii |  | 1.37.10.3.1 | 3 | 8.3.37 | 412м-пр-144/ r02.kk34.uja.jdj.tm.id.p001 | 1 |  | , Manual, Hydraulic, BS, self-operated, Pneumatic | yes |  | Acid, Acid, Acid, Aggressive water, Aggressive water, Aggressive water, Air, Air, Alkali, Alkali, Alkali, Alkali solution, Ammonia, Ammonia solution, Blowdown water, Boric acid solution, Boric acid solution, Boric acid solution, Boric acid solution, Boric acid solution, Boric acid solution, Boric acid solution, Boric concentrate, Boric concentrate, bottoms liquid, caustic soda, Chemical, Chilled water, Chilled water, coagulant, coagulant solution, Compressed air, Condensate, Condensate, Condensate, Condensate, Condensate, Condensate, Decontamination solution, Decontamination solution, Desalted water, Desalted water, Distillate, Distillate, Ethanolamine solution, Feed water, Feed water, Gas, Gas mixture, Gas mixture, Hydrazine hydrate, Hydrazine solution, Hydrogen, LCQ-2 filter regeneration solutions, Mains water, Mains water, Nitric acid, Nitric acid solution, Nitrogen, Nitrogen, oil, Overheated water, oxygen, phosphate solution, primary coolant, primary coolant, primary coolant, primary coolant, Pulp, radioactive gas, radioactive gas, radioactive gas, radioactive gas, radioactive liquid, reagents, reagents, Sea water, slime, slurry water, Sodium hydroxide, Steam, Steam, Steam, Steam-air mixture, Steam-water mixture, Steam-water mixture, Steam-water mixture, sulphuric acid, sulphuric acid, washing solution, washing solution, washing solution, washing solution, Zinc Compound Solution, Water, Water, Water, Water, Water, Water, Water, Water, Water, Water, Water, Water, Water, Water, Water, Water, Water, Water, Water, Water, Water, Water, Water, Water, drainage | [5 empty] | yes
5 | dn 200.0 mm pp 18.0 mpa tp 350 oc medium - reactor coolant, boron solution 39.5-44.5 g/dm3 ду 200.0 мм рр 18.0 мпа тр 350 ос среда - теплоноситель i контура, раствор борной кислоты 39,5-44,5 г/дм3 | 34jdj40aa002 | ssSS | 2вiiа/ i |  | qa1 | 1 | Shut-off valve | 1000 | шт | тв4/iii | 824150 | uja - реакторное здание/внутренний контайнмент / uja - reactor building/internal containment / | 2020-10-06 00:00:00 | 1000 | 0 | 6(ож2)/iii |  | 1.37.10.3.1 | 4 | 8.3.37 | 412м-пр-144/ r02.kk34.uja.jdj.tm.id.p001 | 1 |  | , Manual, Hydraulic, BS, self-operated, Pneumatic | yes |  | Acid, Acid, Acid, Aggressive water, Aggressive water, Aggressive water, Air, Air, Alkali, Alkali, Alkali, Alkali solution, Ammonia, Ammonia solution, Blowdown water, Boric acid solution, Boric acid solution, Boric acid solution, Boric acid solution, Boric acid solution, Boric acid solution, Boric acid solution, Boric concentrate, Boric concentrate, bottoms liquid, caustic soda, Chemical, Chilled water, Chilled water, coagulant, coagulant solution, Compressed air, Condensate, Condensate, Condensate, Condensate, Condensate, Condensate, Decontamination solution, Decontamination solution, Desalted water, Desalted water, Distillate, Distillate, Ethanolamine solution, Feed water, Feed water, Gas, Gas mixture, Gas mixture, Hydrazine hydrate, Hydrazine solution, Hydrogen, LCQ-2 filter regeneration solutions, Mains water, Mains water, Nitric acid, Nitric acid solution, Nitrogen, Nitrogen, oil, Overheated water, oxygen, phosphate solution, primary coolant, primary coolant, primary coolant, primary coolant, Pulp, radioactive gas, radioactive gas, radioactive gas, radioactive gas, radioactive liquid, reagents, reagents, Sea water, slime, slurry water, Sodium hydroxide, Steam, Steam, Steam, Steam-air mixture, Steam-water mixture, Steam-water mixture, Steam-water mixture, sulphuric acid, sulphuric acid, washing solution, washing solution, washing solution, washing solution, Zinc Compound Solution, Water, Water, Water, Water, Water, Water, Water, Water, Water, Water, Water, Water, Water, Water, Water, Water, Water, Water, Water, Water, Water, Water, Water, Water, drainage | [5 empty] | yes
6 | dn 200.0 mm pp 18.0 mpa tp 350 oc medium - reactor coolant, boron solution 39.5-44.5 g/dm3 ду 200.0 мм рр 18.0 мпа тр 350 ос среда - теплоноситель i контура, раствор борной кислоты 39,5-44,5 г/дм3 | 31jdj10aa003 | ssSS | 2вiiа/ i |  | qa1 | 1 | Shut-off valve | 1000 | шт | тв4/iii | 824150 | uja - реакторное здание/внутренний контайнмент / uja - reactor building/internal containment / | 2020-10-06 00:00:00 | 1000 | 0 | 6(ож2)/iii |  | 1.37.10.3.1 | 5 | 8.3.37 | 412м-пр-144/ r02.kk34.uja.jdj.tm.id.p001 | 1 |  | , Manual, Hydraulic, BS, self-operated, Pneumatic | yes |  | Acid, Acid, Acid, Aggressive water, Aggressive water, Aggressive water, Air, Air, Alkali, Alkali, Alkali, Alkali solution, Ammonia, Ammonia solution, Blowdown water, Boric acid solution, Boric acid solution, Boric acid solution, Boric acid solution, Boric acid solution, Boric acid solution, Boric acid solution, Boric concentrate, Boric concentrate, bottoms liquid, caustic soda, Chemical, Chilled water, Chilled water, coagulant, coagulant solution, Compressed air, Condensate, Condensate, Condensate, Condensate, Condensate, Condensate, Decontamination solution, Decontamination solution, Desalted water, Desalted water, Distillate, Distillate, Ethanolamine solution, Feed water, Feed water, Gas, Gas mixture, Gas mixture, Hydrazine hydrate, Hydrazine solution, Hydrogen, LCQ-2 filter regeneration solutions, Mains water, Mains water, Nitric acid, Nitric acid solution, Nitrogen, Nitrogen, oil, Overheated water, oxygen, phosphate solution, primary coolant, primary coolant, primary coolant, primary coolant, Pulp, radioactive gas, radioactive gas, radioactive gas, radioactive gas, radioactive liquid, reagents, reagents, Sea water, slime, slurry water, Sodium hydroxide, Steam, Steam, Steam, Steam-air mixture, Steam-water mixture, Steam-water mixture, Steam-water mixture, sulphuric acid, sulphuric acid, washing solution, washing solution, washing solution, washing solution, Zinc Compound Solution, Water, Water, Water, Water, Water, Water, Water, Water, Water, Water, Water, Water, Water, Water, Water, Water, Water, Water, Water, Water, Water, Water, Water, Water, drainage | [5 empty] | yes
7 | dn 200.0 mm pp 18.0 mpa tp 350 oc medium - reactor coolant, boron solution 39.5-44.5 g/dm3 ду 200.0 мм рр 18.0 мпа тр 350 ос среда - теплоноситель i контура, раствор борной кислоты 39,5-44,5 г/дм3 | 32jdj20aa003 | ssSS | 2вiiа/ i |  | qa1 | 1 | Shut-off valve | 1000 | шт | тв4/iii | 824150 | uja - реакторное здание/внутренний контайнмент / uja - reactor building/internal containment / | 2020-10-06 00:00:00 | 1000 | 0 | 6(ож2)/iii |  | 1.37.10.3.1 | 6 | 8.3.37 | 412м-пр-144/ r02.kk34.uja.jdj.tm.id.p001 | 1 |  | , Manual, Hydraulic, BS, self-operated, Pneumatic | yes |  | Acid, Acid, Acid, Aggressive water, Aggressive water, Aggressive water, Air, Air, Alkali, Alkali, Alkali, Alkali solution, Ammonia, Ammonia solution, Blowdown water, Boric acid solution, Boric acid solution, Boric acid solution, Boric acid solution, Boric acid solution, Boric acid solution, Boric acid solution, Boric concentrate, Boric concentrate, bottoms liquid, caustic soda, Chemical, Chilled water, Chilled water, coagulant, coagulant solution, Compressed air, Condensate, Condensate, Condensate, Condensate, Condensate, Condensate, Decontamination solution, Decontamination solution, Desalted water, Desalted water, Distillate, Distillate, Ethanolamine solution, Feed water, Feed water, Gas, Gas mixture, Gas mixture, Hydrazine hydrate, Hydrazine solution, Hydrogen, LCQ-2 filter regeneration solutions, Mains water, Mains water, Nitric acid, Nitric acid solution, Nitrogen, Nitrogen, oil, Overheated water, oxygen, phosphate solution, primary coolant, primary coolant, primary coolant, primary coolant, Pulp, radioactive gas, radioactive gas, radioactive gas, radioactive gas, radioactive liquid, reagents, reagents, Sea water, slime, slurry water, Sodium hydroxide, Steam, Steam, Steam, Steam-air mixture, Steam-water mixture, Steam-water mixture, Steam-water mixture, sulphuric acid, sulphuric acid, washing solution, washing solution, washing solution, washing solution, Zinc Compound Solution, Water, Water, Water, Water, Water, Water, Water, Water, Water, Water, Water, Water, Water, Water, Water, Water, Water, Water, Water, Water, Water, Water, Water, Water, drainage | [5 empty] | yes
8 | dn 200.0 mm pp 18.0 mpa tp 350 oc medium - reactor coolant, boron solution 39.5-44.5 g/dm3 ду 200.0 мм рр 18.0 мпа тр 350 ос среда - теплоноситель i контура, раствор борной кислоты 39,5-44,5 г/дм3 | 33jdj30aa003 | ssSS | 2вiiа/ i |  | qa1 | 1 | Shut-off valve | 1000 | шт | тв4/iii | 824150 | uja - реакторное здание/внутренний контайнмент / uja - reactor building/internal containment / | 2020-10-06 00:00:00 | 1000 | 0 | 6(ож2)/iii |  | 1.37.10.3.1 | 7 | 8.3.37 | 412м-пр-144/ r02.kk34.uja.jdj.tm.id.p001 | 1 |  | , Manual, Hydraulic, BS, self-operated, Pneumatic | yes |  | Acid, Acid, Acid, Aggressive water, Aggressive water, Aggressive water, Air, Air, Alkali, Alkali, Alkali, Alkali solution, Ammonia, Ammonia solution, Blowdown water, Boric acid solution, Boric acid solution, Boric acid solution, Boric acid solution, Boric acid solution, Boric acid solution, Boric acid solution, Boric concentrate, Boric concentrate, bottoms liquid, caustic soda, Chemical, Chilled water, Chilled water, coagulant, coagulant solution, Compressed air, Condensate, Condensate, Condensate, Condensate, Condensate, Condensate, Decontamination solution, Decontamination solution, Desalted water, Desalted water, Distillate, Distillate, Ethanolamine solution, Feed water, Feed water, Gas, Gas mixture, Gas mixture, Hydrazine hydrate, Hydrazine solution, Hydrogen, LCQ-2 filter regeneration solutions, Mains water, Mains water, Nitric acid, Nitric acid solution, Nitrogen, Nitrogen, oil, Overheated water, oxygen, phosphate solution, primary coolant, primary coolant, primary coolant, primary coolant, Pulp, radioactive gas, radioactive gas, radioactive gas, radioactive gas, radioactive liquid, reagents, reagents, Sea water, slime, slurry water, Sodium hydroxide, Steam, Steam, Steam, Steam-air mixture, Steam-water mixture, Steam-water mixture, Steam-water mixture, sulphuric acid, sulphuric acid, washing solution, washing solution, washing solution, washing solution, Zinc Compound Solution, Water, Water, Water, Water, Water, Water, Water, Water, Water, Water, Water, Water, Water, Water, Water, Water, Water, Water, Water, Water, Water, Water, Water, Water, drainage | [5 empty] | yes
9 | dn 200.0 mm pp 18.0 mpa tp 350 oc medium - reactor coolant, boron solution 39.5-44.5 g/dm3 ду 200.0 мм рр 18.0 мпа тр 350 ос среда - теплоноситель i контура, раствор борной кислоты 39,5-44,5 г/дм3 | 34jdj40aa003 | ssSS | 2вiiа/ i |  | qa1 | 1 | Shut-off valve | 1000 | шт | тв4/iii | 824150 | uja - реакторное здание/внутренний контайнмент / uja - reactor building/internal containment / | 2020-10-06 00:00:00 | 1000 | 0 | 6(ож2)/iii |  | 1.37.10.3.1 | 8 | 8.3.37 | 412м-пр-144/ r02.kk34.uja.jdj.tm.id.p001 | 1 |  | , Manual, Hydraulic, BS, self-operated, Pneumatic | yes |  | Acid, Acid, Acid, Aggressive water, Aggressive water, Aggressive water, Air, Air, Alkali, Alkali, Alkali, Alkali solution, Ammonia, Ammonia solution, Blowdown water, Boric acid solution, Boric acid solution, Boric acid solution, Boric acid solution, Boric acid solution, Boric acid solution, Boric acid solution, Boric concentrate, Boric concentrate, bottoms liquid, caustic soda, Chemical, Chilled water, Chilled water, coagulant, coagulant solution, Compressed air, Condensate, Condensate, Condensate, Condensate, Condensate, Condensate, Decontamination solution, Decontamination solution, Desalted water, Desalted water, Distillate, Distillate, Ethanolamine solution, Feed water, Feed water, Gas, Gas mixture, Gas mixture, Hydrazine hydrate, Hydrazine solution, Hydrogen, LCQ-2 filter regeneration solutions, Mains water, Mains water, Nitric acid, Nitric acid solution, Nitrogen, Nitrogen, oil, Overheated water, oxygen, phosphate solution, primary coolant, primary coolant, primary coolant, primary coolant, Pulp, radioactive gas, radioactive gas, radioactive gas, radioactive gas, radioactive liquid, reagents, reagents, Sea water, slime, slurry water, Sodium hydroxide, Steam, Steam, Steam, Steam-air mixture, Steam-water mixture, Steam-water mixture, Steam-water mixture, sulphuric acid, sulphuric acid, washing solution, washing solution, washing solution, washing solution, Zinc Compound Solution, Water, Water, Water, Water, Water, Water, Water, Water, Water, Water, Water, Water, Water, Water, Water, Water, Water, Water, Water, Water, Water, Water, Water, Water, drainage | [5 empty] | yes
10 | dn 200.0 mm pp 18.0 mpa tp 350 oc medium - reactor coolant, boron solution 39.5-44.5 g/dm3 ду 200.0 мм рр 18.0 мпа тр 350 ос среда - теплоноситель i контура, раствор борной кислоты 39,5-44,5 г/дм3 | 41jdj10aa002 | ssSS | 2вiiа/ i |  | qa1 | 1 | Shut-off valve | 1000 | шт | тв4/iii | 824150 | uja - реакторное здание/внутренний контайнмент / uja - reactor building/internal containment / | 2021-06-03 00:00:00 | 1000 | 0 | 6(ож2)/iii |  | 1.37.10.3.1 | 9 | 8.4.37 | 412м-пр-144/ r02.kk34.uja.jdj.tm.id.p001 | 1 |  | , Manual, Hydraulic, BS, self-operated, Pneumatic | yes |  | Acid, Acid, Acid, Aggressive water, Aggressive water, Aggressive water, Air, Air, Alkali, Alkali, Alkali, Alkali solution, Ammonia, Ammonia solution, Blowdown water, Boric acid solution, Boric acid solution, Boric acid solution, Boric acid solution, Boric acid solution, Boric acid solution, Boric acid solution, Boric concentrate, Boric concentrate, bottoms liquid, caustic soda, Chemical, Chilled water, Chilled water, coagulant, coagulant solution, Compressed air, Condensate, Condensate, Condensate, Condensate, Condensate, Condensate, Decontamination solution, Decontamination solution, Desalted water, Desalted water, Distillate, Distillate, Ethanolamine solution, Feed water, Feed water, Gas, Gas mixture, Gas mixture, Hydrazine hydrate, Hydrazine solution, Hydrogen, LCQ-2 filter regeneration solutions, Mains water, Mains water, Nitric acid, Nitric acid solution, Nitrogen, Nitrogen, oil, Overheated water, oxygen, phosphate solution, primary coolant, primary coolant, primary coolant, primary coolant, Pulp, radioactive gas, radioactive gas, radioactive gas, radioactive gas, radioactive liquid, reagents, reagents, Sea water, slime, slurry water, Sodium hydroxide, Steam, Steam, Steam, Steam-air mixture, Steam-water mixture, Steam-water mixture, Steam-water mixture, sulphuric acid, sulphuric acid, washing solution, washing solution, washing solution, washing solution, Zinc Compound Solution, Water, Water, Water, Water, Water, Water, Water, Water, Water, Water, Water, Water, Water, Water, Water, Water, Water, Water, Water, Water, Water, Water, Water, Water, drainage | [5 empty] | yes
11 | dn 200.0 mm pp 18.0 mpa tp 350 oc medium - reactor coolant, boron solution 39.5-44.5 g/dm3 ду 200.0 мм рр 18.0 мпа тр 350 ос среда - теплоноситель i контура, раствор борной кислоты 39,5-44,5 г/дм3 | 42jdj20aa002 | ssSS | 2вiiа/ i |  | qa1 | 1 | Shut-off valve | 1000 | шт | тв4/iii | 824150 | uja - реакторное здание/внутренний контайнмент / uja - reactor building/internal containment / | 2021-06-03 00:00:00 | 1000 | 0 | 6(ож2)/iii |  | 1.37.10.3.1 | 10 | 8.4.37 | 412м-пр-144/ r02.kk34.uja.jdj.tm.id.p001 | 1 |  | , Manual, Hydraulic, BS, self-operated, Pneumatic | yes |  | Acid, Acid, Acid, Aggressive water, Aggressive water, Aggressive water, Air, Air, Alkali, Alkali, Alkali, Alkali solution, Ammonia, Ammonia solution, Blowdown water, Boric acid solution, Boric acid solution, Boric acid solution, Boric acid solution, Boric acid solution, Boric acid solution, Boric acid solution, Boric concentrate, Boric concentrate, bottoms liquid, caustic soda, Chemical, Chilled water, Chilled water, coagulant, coagulant solution, Compressed air, Condensate, Condensate, Condensate, Condensate, Condensate, Condensate, Decontamination solution, Decontamination solution, Desalted water, Desalted water, Distillate, Distillate, Ethanolamine solution, Feed water, Feed water, Gas, Gas mixture, Gas mixture, Hydrazine hydrate, Hydrazine solution, Hydrogen, LCQ-2 filter regeneration solutions, Mains water, Mains water, Nitric acid, Nitric acid solution, Nitrogen, Nitrogen, oil, Overheated water, oxygen, phosphate solution, primary coolant, primary coolant, primary coolant, primary coolant, Pulp, radioactive gas, radioactive gas, radioactive gas, radioactive gas, radioactive liquid, reagents, reagents, Sea water, slime, slurry water, Sodium hydroxide, Steam, Steam, Steam, Steam-air mixture, Steam-water mixture, Steam-water mixture, Steam-water mixture, sulphuric acid, sulphuric acid, washing solution, washing solution, washing solution, washing solution, Zinc Compound Solution, Water, Water, Water, Water, Water, Water, Water, Water, Water, Water, Water, Water, Water, Water, Water, Water, Water, Water, Water, Water, Water, Water, Water, Water, drainage | [5 empty] | yes
12 | dn 200.0 mm pp 18.0 mpa tp 350 oc medium - reactor coolant, boron solution 39.5-44.5 g/dm3 ду 200.0 мм рр 18.0 мпа тр 350 ос среда - теплоноситель i контура, раствор борной кислоты 39,5-44,5 г/дм3 | 43jdj30aa002 | ssSS | 2вiiа/ i |  | qa1 | 1 | Shut-off valve | 1000 | шт | тв4/iii | 824150 | uja - реакторное здание/внутренний контайнмент / uja - reactor building/internal containment / | 2021-06-03 00:00:00 | 1000 | 0 | 6(ож2)/iii |  | 1.37.10.3.1 | 11 | 8.4.37 | 412м-пр-144/ r02.kk34.uja.jdj.tm.id.p001 | 1 |  | , Manual, Hydraulic, BS, self-operated, Pneumatic | yes |  | Acid, Acid, Acid, Aggressive water, Aggressive water, Aggressive water, Air, Air, Alkali, Alkali, Alkali, Alkali solution, Ammonia, Ammonia solution, Blowdown water, Boric acid solution, Boric acid solution, Boric acid solution, Boric acid solution, Boric acid solution, Boric acid solution, Boric acid solution, Boric concentrate, Boric concentrate, bottoms liquid, caustic soda, Chemical, Chilled water, Chilled water, coagulant, coagulant solution, Compressed air, Condensate, Condensate, Condensate, Condensate, Condensate, Condensate, Decontamination solution, Decontamination solution, Desalted water, Desalted water, Distillate, Distillate, Ethanolamine solution, Feed water, Feed water, Gas, Gas mixture, Gas mixture, Hydrazine hydrate, Hydrazine solution, Hydrogen, LCQ-2 filter regeneration solutions, Mains water, Mains water, Nitric acid, Nitric acid solution, Nitrogen, Nitrogen, oil, Overheated water, oxygen, phosphate solution, primary coolant, primary coolant, primary coolant, primary coolant, Pulp, radioactive gas, radioactive gas, radioactive gas, radioactive gas, radioactive liquid, reagents, reagents, Sea water, slime, slurry water, Sodium hydroxide, Steam, Steam, Steam, Steam-air mixture, Steam-water mixture, Steam-water mixture, Steam-water mixture, sulphuric acid, sulphuric acid, washing solution, washing solution, washing solution, washing solution, Zinc Compound Solution, Water, Water, Water, Water, Water, Water, Water, Water, Water, Water, Water, Water, Water, Water, Water, Water, Water, Water, Water, Water, Water, Water, Water, Water, drainage | [5 empty] | yes
13 | dn 200.0 mm pp 18.0 mpa tp 350 oc medium - reactor coolant, boron solution 39.5-44.5 g/dm3 ду 200.0 мм рр 18.0 мпа тр 350 ос среда - теплоноситель i контура, раствор борной кислоты 39,5-44,5 г/дм3 | 44jdj40aa002 | ssSS | 2вiiа/ i |  | qa1 | 1 | Shut-off valve | 1000 | шт | тв4/iii | 824150 | uja - реакторное здание/внутренний контайнмент / uja - reactor building/internal containment / | 2021-06-03 00:00:00 | 1000 | 0 | 6(ож2)/iii |  | 1.37.10.3.1 | 12 | 8.4.37 | 412м-пр-144/ r02.kk34.uja.jdj.tm.id.p001 | 1 |  | , Manual, Hydraulic, BS, self-operated, Pneumatic | yes |  | Acid, Acid, Acid, Aggressive water, Aggressive water, Aggressive water, Air, Air, Alkali, Alkali, Alkali, Alkali solution, Ammonia, Ammonia solution, Blowdown water, Boric acid solution, Boric acid solution, Boric acid solution, Boric acid solution, Boric acid solution, Boric acid solution, Boric acid solution, Boric concentrate, Boric concentrate, bottoms liquid, caustic soda, Chemical, Chilled water, Chilled water, coagulant, coagulant solution, Compressed air, Condensate, Condensate, Condensate, Condensate, Condensate, Condensate, Decontamination solution, Decontamination solution, Desalted water, Desalted water, Distillate, Distillate, Ethanolamine solution, Feed water, Feed water, Gas, Gas mixture, Gas mixture, Hydrazine hydrate, Hydrazine solution, Hydrogen, LCQ-2 filter regeneration solutions, Mains water, Mains water, Nitric acid, Nitric acid solution, Nitrogen, Nitrogen, oil, Overheated water, oxygen, phosphate solution, primary coolant, primary coolant, primary coolant, primary coolant, Pulp, radioactive gas, radioactive gas, radioactive gas, radioactive gas, radioactive liquid, reagents, reagents, Sea water, slime, slurry water, Sodium hydroxide, Steam, Steam, Steam, Steam-air mixture, Steam-water mixture, Steam-water mixture, Steam-water mixture, sulphuric acid, sulphuric acid, washing solution, washing solution, washing solution, washing solution, Zinc Compound Solution, Water, Water, Water, Water, Water, Water, Water, Water, Water, Water, Water, Water, Water, Water, Water, Water, Water, Water, Water, Water, Water, Water, Water, Water, drainage | [5 empty] | yes
14 | dn 200.0 mm pp 18.0 mpa tp 350 oc medium - reactor coolant, boron solution 39.5-44.5 g/dm3 ду 200.0 мм рр 18.0 мпа тр 350 ос среда - теплоноситель i контура, раствор борной кислоты 39,5-44,5 г/дм3 | 41jdj10aa003 | ssSS | 2вiiа/ i |  | qa1 | 1 | Shut-off valve | 1000 | шт | тв4/iii | 824150 | uja - реакторное здание/внутренний контайнмент / uja - reactor building/internal containment / | 2021-06-03 00:00:00 | 1000 | 0 | 6(ож2)/iii |  | 1.37.10.3.1 | 13 | 8.4.37 | 412м-пр-144/ r02.kk34.uja.jdj.tm.id.p001 | 1 |  | , Manual, Hydraulic, BS, self-operated, Pneumatic | yes |  | Acid, Acid, Acid, Aggressive water, Aggressive water, Aggressive water, Air, Air, Alkali, Alkali, Alkali, Alkali solution, Ammonia, Ammonia solution, Blowdown water, Boric acid solution, Boric acid solution, Boric acid solution, Boric acid solution, Boric acid solution, Boric acid solution, Boric acid solution, Boric concentrate, Boric concentrate, bottoms liquid, caustic soda, Chemical, Chilled water, Chilled water, coagulant, coagulant solution, Compressed air, Condensate, Condensate, Condensate, Condensate, Condensate, Condensate, Decontamination solution, Decontamination solution, Desalted water, Desalted water, Distillate, Distillate, Ethanolamine solution, Feed water, Feed water, Gas, Gas mixture, Gas mixture, Hydrazine hydrate, Hydrazine solution, Hydrogen, LCQ-2 filter regeneration solutions, Mains water, Mains water, Nitric acid, Nitric acid solution, Nitrogen, Nitrogen, oil, Overheated water, oxygen, phosphate solution, primary coolant, primary coolant, primary coolant, primary coolant, Pulp, radioactive gas, radioactive gas, radioactive gas, radioactive gas, radioactive liquid, reagents, reagents, Sea water, slime, slurry water, Sodium hydroxide, Steam, Steam, Steam, Steam-air mixture, Steam-water mixture, Steam-water mixture, Steam-water mixture, sulphuric acid, sulphuric acid, washing solution, washing solution, washing solution, washing solution, Zinc Compound Solution, Water, Water, Water, Water, Water, Water, Water, Water, Water, Water, Water, Water, Water, Water, Water, Water, Water, Water, Water, Water, Water, Water, Water, Water, drainage | [5 empty] | yes
15 | dn 200.0 mm pp 18.0 mpa tp 350 oc medium - reactor coolant, boron solution 39.5-44.5 g/dm3 ду 200.0 мм рр 18.0 мпа тр 350 ос среда - теплоноситель i контура, раствор борной кислоты 39,5-44,5 г/дм3 | 42jdj20aa003 | ssSS | 2вiiа/ i |  | qa1 | 1 | Shut-off valve | 1000 | шт | тв4/iii | 824150 | uja - реакторное здание/внутренний контайнмент / uja - reactor building/internal containment / | 2021-06-03 00:00:00 | 1000 | 0 | 6(ож2)/iii |  | 1.37.10.3.1 | 14 | 8.4.37 | 412м-пр-144/ r02.kk34.uja.jdj.tm.id.p001 | 1 |  | , Manual, Hydraulic, BS, self-operated, Pneumatic | yes |  | Acid, Acid, Acid, Aggressive water, Aggressive water, Aggressive water, Air, Air, Alkali, Alkali, Alkali, Alkali solution, Ammonia, Ammonia solution, Blowdown water, Boric acid solution, Boric acid solution, Boric acid solution, Boric acid solution, Boric acid solution, Boric acid solution, Boric acid solution, Boric concentrate, Boric concentrate, bottoms liquid, caustic soda, Chemical, Chilled water, Chilled water, coagulant, coagulant solution, Compressed air, Condensate, Condensate, Condensate, Condensate, Condensate, Condensate, Decontamination solution, Decontamination solution, Desalted water, Desalted water, Distillate, Distillate, Ethanolamine solution, Feed water, Feed water, Gas, Gas mixture, Gas mixture, Hydrazine hydrate, Hydrazine solution, Hydrogen, LCQ-2 filter regeneration solutions, Mains water, Mains water, Nitric acid, Nitric acid solution, Nitrogen, Nitrogen, oil, Overheated water, oxygen, phosphate solution, primary coolant, primary coolant, primary coolant, primary coolant, Pulp, radioactive gas, radioactive gas, radioactive gas, radioactive gas, radioactive liquid, reagents, reagents, Sea water, slime, slurry water, Sodium hydroxide, Steam, Steam, Steam, Steam-air mixture, Steam-water mixture, Steam-water mixture, Steam-water mixture, sulphuric acid, sulphuric acid, washing solution, washing solution, washing solution, washing solution, Zinc Compound Solution, Water, Water, Water, Water, Water, Water, Water, Water, Water, Water, Water, Water, Water, Water, Water, Water, Water, Water, Water, Water, Water, Water, Water, Water, drainage | [5 empty] | yes
16 | dn 200.0 mm pp 18.0 mpa tp 350 oc medium - reactor coolant, boron solution 39.5-44.5 g/dm3 ду 200.0 мм рр 18.0 мпа тр 350 ос среда - теплоноситель i контура, раствор борной кислоты 39,5-44,5 г/дм3 | 43jdj30aa003 | ssSS | 2вiiа/ i |  | qa1 | 1 | Shut-off valve | 1000 | шт | тв4/iii | 824150 | uja - реакторное здание/внутренний контайнмент / uja - reactor building/internal containment / | 2021-06-03 00:00:00 | 1000 | 0 | 6(ож2)/iii |  | 1.37.10.3.1 | 15 | 8.4.37 | 412м-пр-144/ r02.kk34.uja.jdj.tm.id.p001 | 1 |  | , Manual, Hydraulic, BS, self-operated, Pneumatic | yes |  | Acid, Acid, Acid, Aggressive water, Aggressive water, Aggressive water, Air, Air, Alkali, Alkali, Alkali, Alkali solution, Ammonia, Ammonia solution, Blowdown water, Boric acid solution, Boric acid solution, Boric acid solution, Boric acid solution, Boric acid solution, Boric acid solution, Boric acid solution, Boric concentrate, Boric concentrate, bottoms liquid, caustic soda, Chemical, Chilled water, Chilled water, coagulant, coagulant solution, Compressed air, Condensate, Condensate, Condensate, Condensate, Condensate, Condensate, Decontamination solution, Decontamination solution, Desalted water, Desalted water, Distillate, Distillate, Ethanolamine solution, Feed water, Feed water, Gas, Gas mixture, Gas mixture, Hydrazine hydrate, Hydrazine solution, Hydrogen, LCQ-2 filter regeneration solutions, Mains water, Mains water, Nitric acid, Nitric acid solution, Nitrogen, Nitrogen, oil, Overheated water, oxygen, phosphate solution, primary coolant, primary coolant, primary coolant, primary coolant, Pulp, radioactive gas, radioactive gas, radioactive gas, radioactive gas, radioactive liquid, reagents, reagents, Sea water, slime, slurry water, Sodium hydroxide, Steam, Steam, Steam, Steam-air mixture, Steam-water mixture, Steam-water mixture, Steam-water mixture, sulphuric acid, sulphuric acid, washing solution, washing solution, washing solution, washing solution, Zinc Compound Solution, Water, Water, Water, Water, Water, Water, Water, Water, Water, Water, Water, Water, Water, Water, Water, Water, Water, Water, Water, Water, Water, Water, Water, Water, drainage | [5 empty] | yes
17 | dn 200.0 mm pp 18.0 mpa tp 350 oc medium - reactor coolant, boron solution 39.5-44.5 g/dm3 ду 200.0 мм рр 18.0 мпа тр 350 ос среда - теплоноситель i контура, раствор борной кислоты 39,5-44,5 г/дм3 | 44jdj40aa003 | ssSS | 2вiiа/ i |  | qa1 | 1 | Shut-off valve | 1000 | шт | тв4/iii | 824150 | uja - реакторное здание/внутренний контайнмент / uja - reactor building/internal containment / | 2021-06-03 00:00:00 | 1000 | 0 | 6(ож2)/iii |  | 1.37.10.3.1 | 16 | 8.4.37 | 412м-пр-144/ r02.kk34.uja.jdj.tm.id.p001 | 1 |  | , Manual, Hydraulic, BS, self-operated, Pneumatic | yes |  | Acid, Acid, Acid, Aggressive water, Aggressive water, Aggressive water, Air, Air, Alkali, Alkali, Alkali, Alkali solution, Ammonia, Ammonia solution, Blowdown water, Boric acid solution, Boric acid solution, Boric acid solution, Boric acid solution, Boric acid solution, Boric acid solution, Boric acid solution, Boric concentrate, Boric concentrate, bottoms liquid, caustic soda, Chemical, Chilled water, Chilled water, coagulant, coagulant solution, Compressed air, Condensate, Condensate, Condensate, Condensate, Condensate, Condensate, Decontamination solution, Decontamination solution, Desalted water, Desalted water, Distillate, Distillate, Ethanolamine solution, Feed water, Feed water, Gas, Gas mixture, Gas mixture, Hydrazine hydrate, Hydrazine solution, Hydrogen, LCQ-2 filter regeneration solutions, Mains water, Mains water, Nitric acid, Nitric acid solution, Nitrogen, Nitrogen, oil, Overheated water, oxygen, phosphate solution, primary coolant, primary coolant, primary coolant, primary coolant, Pulp, radioactive gas, radioactive gas, radioactive gas, radioactive gas, radioactive liquid, reagents, reagents, Sea water, slime, slurry water, Sodium hydroxide, Steam, Steam, Steam, Steam-air mixture, Steam-water mixture, Steam-water mixture, Steam-water mixture, sulphuric acid, sulphuric acid, washing solution, washing solution, washing solution, washing solution, Zinc Compound Solution, Water, Water, Water, Water, Water, Water, Water, Water, Water, Water, Water, Water, Water, Water, Water, Water, Water, Water, Water, Water, Water, Water, Water, Water, drainage | [5 empty] | yes

## Sheet2
RC:RC для строки заголовков | ((5, 1), (5, 22))
количество заголовков | 22.0
повторяющиеся заголовки | Counter()
количество повторяющихся заголовков | 0
двойной заголовок | True
второй (английский ) заголовок | (True, ((3, 1), (3, 22)))
содержит строку с номерами столбцов | (True, ((7, 1), (7, 22)))
вреся на чтение диапазона заголовков | 0.007021665573120117
время на нормализацию | 0.011057138442993164
заменен или нет заголовок | {'№ позиции': ('не обработан', ''), '№ позиции по контракту с икаэл': ('не обработан', ''), '№ п/п по спецификации аэп (номер по сзс) ': ('не обработан', ''), 'код по kks, mcs': ('KKS', 'copy_columns'), 'наименование оборудования': ('Type', 'text_columns'), 'тип, марка, модель, шифр, техническая характеристика': ('KK', 'text_columns'), '№ ту, чертежа, технических требований и др.': ('не обработан', ''), 'класс безопасности/ группа/ категория сейсмостойкости': ('NC', 'text_columns'), 'категория обеспечения качества': ('QualityCat', 'copy_columns'), 'материал': ('Material', 'eng_vars_columns'), 'единица измерения': ('не обработан', ''), 'количество': ('Quantity', 'copy_columns'), 'масса (кг)': ('Weight', 'copy_columns'), 'столбец1': ('не обработан', ''), 'климатическое исполнение и категория размещения ': ('не обработан', ''), 'условия хранения ': ('не обработан', ''), 'место установки': ('не обработан', ''), 'срок поставки': ('не обработан', ''), 'цена ': ('не обработан', ''), 'столбец2': ('не обработан', ''), 'примечание': ('Note', 'text_columns'), 'код еос нси (gid)': ('не обработан', '')}
замененных заголовков | 9
RC:RC диапазона характеристик | ((8, 1), (23, 22))
количество строк в диапазоне характеристик | 16
время на чтение диапазона характеристик | 0.001416921615600586

## Sheet3
KK |  | KKS |  | Material |  | NC |  | Note |  | QualityCat |  | Quantity |  | Type |  | Weight |  | единица измерения |  | климатическое исполнение и категория размещения |  | код еос нси (gid) |  | место установки |  | срок поставки |  | столбец1 |  | столбец2 |  | условия хранения |  | цена |  | № п/п по спецификации аэп (номер по сзс) |  | № позиции |  | № позиции по контракту с икаэл |  | № ту, чертежа, технических требований и др. |  | countClones
amountOfEmptyFields | 0 | amountOfEmptyFields | 0 | amountOfEmptyFields | 0 | amountOfEmptyFields | 0 | amountOfEmptyFields | 16 | amountOfEmptyFields | 0 | amountOfEmptyFields | 0 | amountOfEmptyFields | 0 | amountOfEmptyFields | 0 | amountOfEmptyFields | 0 | amountOfEmptyFields | 0 | amountOfEmptyFields | 1 | amountOfEmptyFields | 0 | amountOfEmptyFields | 0 | amountOfEmptyFields | 0 | amountOfEmptyFields | 0 | amountOfEmptyFields | 0 | amountOfEmptyFields | 16 | amountOfEmptyFields | 0 | amountOfEmptyFields | 0 | amountOfEmptyFields | 0 | amountOfEmptyFields | 0 | amountOfEmptyFields | 0
amountOfChangedFields | 0 | amountOfChangedFields | 0 | amountOfChangedFields | 16 | amountOfChangedFields | 0 | amountOfChangedFields | 0 | amountOfChangedFields | 0 | amountOfChangedFields | 0 | amountOfChangedFields | 0 | amountOfChangedFields | 0 | amountOfChangedFields | 0 | amountOfChangedFields | 0 | amountOfChangedFields | 0 | amountOfChangedFields | 0 | amountOfChangedFields | 0 | amountOfChangedFields | 0 | amountOfChangedFields | 0 | amountOfChangedFields | 0 | amountOfChangedFields | 0 | amountOfChangedFields | 0 | amountOfChangedFields | 0 | amountOfChangedFields | 0 | amountOfChangedFields | 0 | amountOfChangedFields | 0
amountOfUnchangedFields | 17 | amountOfUnchangedFields | 17 | amountOfUnchangedFields | 1 | amountOfUnchangedFields | 17 | amountOfUnchangedFields | 17 | amountOfUnchangedFields | 17 | amountOfUnchangedFields | 17 | amountOfUnchangedFields | 17 | amountOfUnchangedFields | 17 | amountOfUnchangedFields | 17 | amountOfUnchangedFields | 17 | amountOfUnchangedFields | 17 | amountOfUnchangedFields | 17 | amountOfUnchangedFields | 17 | amountOfUnchangedFields | 17 | amountOfUnchangedFields | 17 | amountOfUnchangedFields | 17 | amountOfUnchangedFields | 17 | amountOfUnchangedFields | 17 | amountOfUnchangedFields | 17 | amountOfUnchangedFields | 17 | amountOfUnchangedFields | 17 | amountOfUnchangedFields | 17
unchangedFields |  | unchangedFields | 31jdj10aa003 | unchangedFields | ssSS | unchangedFields |  | unchangedFields |  | unchangedFields | 9 | unchangedFields | 12 | unchangedFields |  | unchangedFields | 13 | unchangedFields |  | unchangedFields |  | unchangedFields |  | unchangedFields |  | unchangedFields |  | unchangedFields |  | unchangedFields |  | unchangedFields |  | unchangedFields |  | unchangedFields |  | unchangedFields |  | unchangedFields |  | unchangedFields |  | unchangedFields
|  |  | 43jdj30aa002 |  | 10 | [5 empty] | qa1 |  | 1 |  |  |  | 1000
|  |  | 43jdj30aa003 |  | ss / нж
34jdj40aa003
33jdj30aa003
34jdj40aa002
33jdj30aa002
4
41jdj10aa002
32jdj20aa003
41jdj10aa003
44jdj40aa002
31jdj10aa002
42jdj20aa003
42jdj20aa002
44jdj40aa003
32jdj20aa002